## 1-SL Exp & Rep
Location | Completion Date | Public Pipe Type | Prv. Exp. Pipe Type | Replacement Status
41-18-436-032 | 2020-08-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-180-015 | 2020-08-17 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
41-17-452-018 | 2020-08-17 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-30-206-007 | 2020-08-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-384-024 | 2020-08-17 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
40-25-276-034 | 2020-08-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-252-009 | 2020-08-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-232-029 | 2020-08-17 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-17-381-004 | 2020-08-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-305-046 | 2020-08-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-29-276-054 | 2020-08-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-29-276-094 | 2020-08-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-211-019 | 2020-08-18 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-30-104-008 | 2020-08-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-481-030 | 2020-08-18 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-12-126-030 | 2020-08-18 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-19-307-024 | 2020-08-18 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-18-485-043 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-456-001 | 2020-08-19 | Galvanized | Galvanized | 03 3/4" FULL REPLACEMENT
40-25-178-029 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-05-481-031 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-29-252-011 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-151-010 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-151-009 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-278-030 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-278-031 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-228-011 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-133-021 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-105-002 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-103-004 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-152-024 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-429-012 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-306-005 | 2020-08-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-230-026 | 2020-08-20 | Copper | Lead | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
40-14-154-002 | 2020-08-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-29-277-021 | 2020-08-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-177-006 | 2020-08-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-05-406-018 | 2020-08-20 | Lead | Lead | 03 3/4" FULL REPLACEMENT
40-01-359-008 | 2020-08-20 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
40-12-227-006 | 2020-08-20 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-17-179-006 | 2020-08-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-179-007 | 2020-08-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-09-210-010 | 2020-08-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-09-204-005 | 2020-08-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-15-483-020 | 2020-08-21 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-04-476-023 | 2020-08-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-430-024 | 2020-08-21 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-01-359-014 | 2020-08-24 | Lead | Lead | 03 3/4" FULL REPLACEMENT
41-08-484-009 | 2020-08-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-459-027 | 2020-08-24 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
41-17-354-027 | 2020-08-24 | Copper | Galvanized | 03 3/4" FULL REPLACEMENT
41-05-181-033 | 2020-08-24 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-25-201-041 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-103-010 | 2020-08-25 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-04-428-020 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-476-045 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-476-033 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-069 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-179-001 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-228-017 | 2020-08-25 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
40-12-178-007 | 2020-08-25 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
46-35-379-035 | 2020-08-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-12-383-035 | 2020-08-25 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-17-308-022 | 2020-08-26 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-23-182-013 | 2020-08-26 | Copper | Copper | 03 3/4" FULL REPLACEMENT
41-16-328-013 | 2020-08-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-078 | 2020-08-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-001 | 2020-08-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-378-029 | 2020-08-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-126-028 | 2020-08-27 | Copper | Lead | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
46-35-384-032 | 2020-08-27 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-16-378-019 | 2020-08-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-22-279-022 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-251-044 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-076 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-077 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-002 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-276-004 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-277-005 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-480-032 | 2020-08-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-206-031 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-476-029 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-476-031 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-327-007 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-251-011 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-457-037 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-24-380-068 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-24-279-006 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-29-476-004 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-05-181-026 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-126-013 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-31-156-010 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-31-152-015 | 2020-08-31 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-129-018 | 2020-09-17 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-20-429-033 | 2020-09-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-227-027 | 2020-09-17 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-156-001 | 2020-09-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-09-477-017 | 2020-09-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-153-017 | 2020-09-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-153-031 | 2020-09-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-133-025 | 2020-09-18 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-358-025 | 2020-09-21 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-22-226-008 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-302-017 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-278-001 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-278-019 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-280-004 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-159-024 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-484-033 | 2020-09-21 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-255-006 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-13-101-015 | 2020-09-21 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-23-132-030 | 2020-09-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-157-007 | 2020-09-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-327-028 | 2020-09-22 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
47-30-104-042 | 2020-09-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-204-035 | 2020-09-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-306-048 | 2020-09-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-479-002 | 2020-09-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-176-003 | 2020-09-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-278-006 | 2020-09-22 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-01-328-016 | 2020-09-22 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-23-131-007 | 2020-09-22 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-04-177-013 | 2020-09-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-177-017 | 2020-09-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-105-001 | 2020-09-23 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-13-101-012 | 2020-09-23 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-16-402-032 | 2020-09-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-102-010 | 2020-09-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-104-041 | 2020-09-23 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-01-254-011 | 2020-09-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-154-011 | 2020-09-23 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-13-360-008 | 2020-09-24 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-29-253-012 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-131-006 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-24-351-049 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-15-485-003 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-157-011 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-177-021 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-177-023 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-177-008 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-251-021 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-177-011 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-176-037 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-251-012 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-24-351-048 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-177-026 | 2020-09-24 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-153-003 | 2020-09-24 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-08-455-018 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-206-021 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-152-001 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-20-430-016 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-353-007 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-152-015 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-227-004 | 2020-09-25 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-13-287-006 | 2020-09-25 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-08-409-004 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-153-055 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-151-027 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-104-025 | 2020-09-25 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-24-152-025 | 2020-09-25 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-178-025 | 2020-09-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-206-022 | 2020-09-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-24-152-019 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-29-277-002 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-205-043 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-251-046 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-03-481-004 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-204-004 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-460-006 | 2020-09-29 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
47-30-130-021 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-132-043 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-309-009 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-106-027 | 2020-09-29 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-15-480-006 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-478-004 | 2020-09-29 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-23-327-008 | 2020-09-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-109-012 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-153-002 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-110-003 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-153-001 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-202-006 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-332-023 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-19-358-011 | 2020-09-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-380-021 | 2020-09-30 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
46-26-251-011 | 2020-10-01 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-276-038 | 2020-10-01 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-233-021 | 2020-10-01 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-327-004 | 2020-10-01 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-205-049 | 2020-10-01 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-07-278-022 | 2020-10-01 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-23-156-017 | 2020-10-01 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-11-107-029 | 2020-10-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-127-004 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-381-002 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-05-157-025 | 2020-10-02 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
40-02-354-018 | 2020-10-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-132-001 | 2020-10-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-480-001 | 2020-10-02 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
40-11-129-001 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-380-003 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-127-003 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-127-002 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-354-024 | 2020-10-02 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-327-044 | 2020-10-02 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-277-044 | 2020-10-05 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-10-202-011 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-207-012 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-327-050 | 2020-10-05 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-277-001 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-233-022 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-482-013 | 2020-10-05 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-17-402-031 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-403-022 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-12-109-013 | 2020-10-05 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-29-252-020 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-254-005 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-205-015 | 2020-10-05 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-155-019 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-430-008 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-431-006 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-429-022 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-276-066 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-226-016 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-226-006 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-207-011 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-279-004 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-327-051 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-427-015 | 2020-10-06 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-02-380-001 | 2020-10-06 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-283-017 | 2020-10-06 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-23-205-014 | 2020-10-06 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-24-376-043 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-204-015 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-204-008 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-251-002 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-207-009 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-233-019 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-154-021 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-156-017 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-226-002 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-205-028 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-254-001 | 2020-10-07 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-251-010 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-184-034 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-433-004 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-252-025 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-330-012 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-330-001 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-154-006 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-08-329-022 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-252-047 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-254-036 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-229-031 | 2020-10-08 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
47-29-127-009 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-12-103-016 | 2020-10-08 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-08-226-020 | 2020-10-08 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-281-001 | 2020-10-08 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
41-08-226-025 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-108-014 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-208-001 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-332-036 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-405-031 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-405-006 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-404-021 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-132-016 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-154-023 | 2020-10-09 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-17-404-010 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-404-008 | 2020-10-09 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-153-014 | 2020-10-09 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-12-481-022 | 2020-10-12 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
46-25-301-044 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-429-042 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-303-004 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-429-028 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-402-006 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-182-009 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-202-003 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-202-002 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-127-049 | 2020-10-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-128-051 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-253-031 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-22-277-022 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-152-015 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-228-027 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-303-002 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-03-479-006 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-203-048 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-253-022 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-253-027 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-179-032 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-127-051 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-255-005 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-407-038 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-179-067 | 2020-10-13 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-202-054 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-104-009 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-276-008 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-252-033 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-133-013 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-201-002 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-178-069 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-154-040 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-429-035 | 2020-10-14 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-232-003 | 2020-10-14 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-01-328-012 | 2020-10-14 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
47-31-177-007 | 2020-10-14 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
46-26-230-014 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-132-009 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-251-016 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-276-069 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-302-092 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-406-032 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-130-026 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-29-129-024 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-154-005 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-159-002 | 2020-10-15 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-31-305-014 | 2020-10-15 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-02-405-007 | 2020-10-15 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-01-280-006 | 2020-10-15 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
47-33-356-026 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-307-003 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-105-025 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-203-001 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-306-032 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-104-013 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-153-001 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-230-001 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-104-017 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-105-019 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-481-011 | 2020-10-16 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
47-30-177-044 | 2020-10-16 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
46-36-204-002 | 2020-10-16 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-134-016 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-351-003 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-357-013 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-279-026 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-479-017 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-156-016 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-09-208-010 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-09-209-005 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-131-033 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-178-022 | 2020-10-19 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
47-33-102-006 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-430-005 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-357-014 | 2020-10-19 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-18-204-002 | 2020-10-19 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-12-404-001 | 2020-10-20 | Galvanized | Lead | 06 1" FULL REPLACEMENT
40-12-107-012 | 2020-10-20 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-12-107-008 | 2020-10-20 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-15-479-021 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-426-009 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-426-018 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-476-002 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-476-016 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-30-208-024 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-426-012 | 2020-10-20 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-407-050 | 2020-10-20 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
40-14-351-012 | 2020-10-20 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
41-04-427-023 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-15-487-016 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-426-032 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-427-007 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-25-231-006 | 2020-10-21 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
40-15-456-002 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-09-232-002 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-430-019 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-352-004 | 2020-10-21 | Galvanized | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-476-017 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-06-129-050 | 2020-10-21 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-351-004 | 2020-10-21 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-357-008 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-15-487-015 | 2020-10-21 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-427-001 | 2020-10-22 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-12-107-009 | 2020-10-23 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-357-009 | 2020-10-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-351-002 | 2020-10-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-357-010 | 2020-10-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-229-020 | 2020-10-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-228-033 | 2020-10-23 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-477-019 | 2020-10-23 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
40-15-479-030 | 2020-10-23 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
41-17-177-021 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-15-487-014 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-307-053 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-354-004 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-356-003 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-307-047 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-26-379-017 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-307-039 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-28-301-034 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-25-276-029 | 2020-10-26 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-356-001 | 2020-10-26 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-17-127-028 | 2020-10-26 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-30-102-011 | 2020-10-27 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
41-30-157-011 | 2020-10-27 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-16-229-028 | 2020-10-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-32-226-004 | 2020-10-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-11-429-035 | 2020-10-27 | Copper | Galvanized | 02 3/4" PARTIAL REPLACEMENT, PRIVATE SIDE
40-14-385-002 | 2020-10-27 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-354-003 | 2020-10-27 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-380-018 | 2020-10-28 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-276-032 | 2020-10-28 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-02-230-005 | 2020-10-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-380-014 | 2020-10-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-01-107-012 | 2020-10-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-202-010 | 2020-10-28 | Lead | Galvanized | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-385-006 | 2020-10-28 | Galvanized | Lead | 03 3/4" FULL REPLACEMENT
40-14-277-018 | 2020-10-28 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-13-376-007 | 2020-10-28 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-13-376-001 | 2020-10-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-13-328-045 | 2020-10-28 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-13-364-002 | 2020-10-28 | Lead | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-17-206-006 | 2020-10-29 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-30-129-021 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-30-129-022 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-228-030 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-132-033 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-307-051 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-327-018 | 2020-10-29 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-14-304-015 | 2020-10-29 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-30-133-025 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-389-016 | 2020-10-29 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
46-36-381-014 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-408-004 | 2020-10-29 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-23-133-046 | 2020-10-29 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-304-018 | 2020-10-29 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-14-327-037 | 2020-10-30 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-14-307-005 | 2020-10-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-157-007 | 2020-10-30 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-14-303-004 | 2020-10-30 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-102-013 | 2020-10-30 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-14-156-040 | 2020-10-30 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-11-327-014 | 2020-10-30 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-17-105-011 | 2020-10-30 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-14-304-014 | 2020-10-30 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-13-356-006 | 2020-10-31 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
41-30-129-024 | 2020-11-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-32-234-012 | 2020-11-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-32-229-020 | 2020-11-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
40-02-309-004 | 2020-11-02 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
40-14-354-008 | 2020-11-02 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT
40-23-251-025 | 2020-11-02 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-16-301-013 | 2020-11-10 | Lead | Copper | 01 3/4" PARTIAL REPLACEMENT, PUBLIC SIDE
41-16-330-002 | 2020-11-10 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-154-032 | 2020-11-10 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-180-009 | 2020-11-10 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-35-282-006 | 2020-11-10 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-180-026 | 2020-11-10 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
46-36-154-038 | 2020-11-10 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-28-356-058 | 2020-11-11 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-101-011 | 2020-11-11 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-28-355-070 | 2020-11-11 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-102-028 | 2020-11-11 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-32-229-009 | 2020-11-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-105-013 | 2020-11-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-101-018 | 2020-11-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-32-229-010 | 2020-11-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
47-33-102-030 | 2020-11-12 | Copper | Copper | NO PORTION OF SERVICE LINE WAS REPLACED
41-04-177-010 | 2020-11-13 | Lead | Galvanized | 03 3/4" FULL REPLACEMENT

## 2-Filter Verifications
Excavation Date | Address | Filter Verification Attempt 1 | Status - Attempt 1 | Filter Cartridge - Attempt 1 | Staff Comments - Attempt 1 | Filter Verification Attempt 2 | Status - Attempt 2 | Filter Cartridge - Attempt 2 | Staff Comments - Attempt 2 | Filter Verification Attempt 3 | Status - Attempt 3 | Filter Cartridge - Attempt 3 | Staff Comments - Attempt 3
2020-08-17 | S FRANKLIN AVE | 8/17/2020 12:08:28 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-17 | PINGREE AVE | 8/17/2020 10:00:00 AM | Verification Complete, Filter Installed By Staff | Filter Cartridges Provided
2020-08-17 | E COURT ST | 8/17/2020 1:10:56 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-17 | TUXEDO AVE | 8/17/2020 3:48:18 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-18 | MAPLEWOOD AVE | 8/18/2020 2:42:27 PM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 8/19/2020 3:23:28 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-18 | STOCKDALE ST | 8/18/2020 12:09:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-18 | WELCH BLVD | 8/18/2020 10:36:27 AM | Resident Declined, Alternative Water Filtration System | Filter Cartridges Declined | House being renovated.
2020-08-18 | VICTORIA AVE | 8/18/2020 10:04:53 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-19 | PINGREE AVE | 8/18/2020 10:35:55 AM | Verification Complete, Filter Installed By Staff
2020-08-20 | BROOKSIDE DR | 8/20/2020 12:59:56 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-20 | N FRANKLIN AVE | 8/20/2020 6:01:26 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-20 | GRACE ST | 8/20/2020 10:20:16 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-20 | PAGE ST | 8/20/2020 3:00:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-21 | REYNOLDS ST | 8/21/2020 12:26:49 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-21 | RASKOB ST | 8/21/2020 12:00:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-24 | GRACE ST | 8/24/2020 12:21:40 PM | Resident Declined, Resident Already Installed Filter | Filter Cartridges Declined
2020-08-24 | E COURT ST | 8/24/2020 8:02:14 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Declined
2020-08-24 | HOWARD AVE | 8/24/2020 8:08:06 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-24 | MARYLAND AVE | 8/24/2020 2:55:40 PM | Verification Complete, Filter Installed By Staff
2020-08-25 | CAMPBELL ST | 8/25/2020 11:31:42 AM | Verification Complete, Filter Installed By Staff | Filter Cartridges Provided | Brita
2020-08-25 | N MEADE ST | 8/24/2020 8:00:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-25 | BEGOLE ST | 8/25/2020 7:53:06 AM | Resident Declined, Resident Already Installed Filter | Filter Cartridges Declined | Declined
2020-08-25 | WOLCOTT ST | 8/25/2020 9:10:48 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided | Brita
2020-08-26 | JASMINE AVE | 8/24/2020 7:52:38 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-26 | YALE ST | 8/25/2020 6:34:27 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-08-27 | W DEWEY ST | 8/27/2020 10:57:13 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided | Brita
2020-08-27 | W PASADENA AVE | 8/27/2020 9:17:36 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided | Brita
2020-09-17 | KENSINGTON AVE | 9/17/2020 2:37:15 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-21 | BARNEY AVE | 9/21/2020 6:00:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-21 | SWAYZE ST | 9/21/2020 5:37:31 PM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 9/23/2020 9:16:31 AM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 9/24/2020 12:24:00 PM | Verification Incomplete, Resident Not Home | Resident Not Home
2020-09-21 | COTTAGE GROVE AV | 9/21/2020 3:00:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-22 | WHITE ST | 9/22/2020 2:44:35 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-22 | E FLINT PARK BLVD | 9/22/2020 3:13:36 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-22 | WHITE ST | 9/22/2020 9:19:35 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-22 | KNAPP AVE | 9/22/2020 3:15:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-23 | W PASADENA AVE | 9/23/2020 2:38:33 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-23 | COTTAGE GROVE AV | 9/23/2020 1:45:03 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-23 | E ALMA AVE | 9/23/2020 2:38:33 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-23 | CLAIRMONT ST | 9/24/2020 9:04:08 AM | Resident Declined, Alternative Water Filtration System
2020-09-24 | CHRISTOPHER ST | 9/24/2020 2:10:00 PM | Resident Declined, Alternative Water Filtration System
2020-09-24 | SUNSET DR | 9/24/2020 8:48:56 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-25 | W PASADENA AVE | 9/25/2020 2:39:20 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-25 | STOCKTON ST | 9/25/2020 12:29:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-25 | ILLINOIS AVE | 9/25/2020 2:42:39 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-29 | WESLEY ST | 9/29/2020 10:23:26 AM | Resident Declined, Resident Already Installed Filter | Filter Cartridges Declined
2020-09-29 | WISCONSIN AVE | 9/29/2020 9:44:28 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-29 | PERRY ST | 9/30/2020 12:33:43 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-09-30 | BEGOLE ST | 9/30/2020 12:06:03 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-01 | CLEVELAND AVE | 10/1/2020 9:50:00 AM | Verification Complete, Filter Installed By Staff
2020-10-01 | LARCHMONT ST | 10/1/2020 2:44:34 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 1:35:15 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 1:30:18 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | DELAWARE AVE | 10/2/2020 10:45:00 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | BAGLEY ST | 10/2/2020 8:48:06 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 1:23:57 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 4:48:56 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 8:45:06 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 4:51:38 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | N BALLENGER HWY | 10/2/2020 4:57:18 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-02 | BROWNELL BLVD | 10/2/2020 2:26:19 PM | Verification Complete, Filter Installed By Staff | Filter Cartridges Provided
2020-10-05 | DUPONT ST | 10/5/2020 7:46:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-05 | BROWNELL BLVD | 10/5/2020 7:57:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-05 | PERRY ST | 10/5/2020 4:30:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-05 | BEGOLE ST | 10/5/2020 8:00:00 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-06 | N CHEVROLET AVE | 10/6/2020 7:26:55 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-06 | N BALLENGER HWY | 10/6/2020 5:19:57 PM | Verification Complete, Filter Installed By Staff
2020-10-06 | N CHEVROLET AVE | 10/6/2020 7:42:26 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided |  |  | Verification Incomplete, Resident Not Home |  |  | 8/24/2019 11:15:20 AM | Verification Incomplete, Resident Not Home
2020-10-08 | N CHEVROLET AVE | 10/8/2020 11:08:20 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-08 | PONTIAC ST | 10/8/2020 1:18:16 PM | Resident Declined, Alternative Water Filtration System | Filter Cartridges Declined
2020-10-08 | N CHEVROLET AVE | 10/8/2020 10:14:57 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided |  |  | Verification Incomplete, Resident Not Home |  |  | 8/24/2019 11:13:16 AM | Verification Incomplete, Resident Not Home
2020-10-09 | WESTCOMBE AVE | 10/9/2020 2:24:19 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-09 | WESTCOMBE AVE | 10/9/2020 2:02:07 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-12 | FIRST AVE | 10/12/2020 1:57:52 PM | Verification Complete, Filter Installed By Staff | Filter Cartridges Provided
2020-10-14 | E HOLBROOK AVE | 10/14/2020 11:12:15 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-14 | WHITE ST | 10/14/2020 11:25:49 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-14 | CARLTON ST | 10/14/2020 8:36:43 AM | Verification Complete, Filter Installed By Staff
2020-10-15 | EDMUND ST | 10/15/2020 9:05:54 AM | Verification Complete, Filter Installed By Staff
2020-10-15 | LAWNDALE AVE | 10/1/2020 12:49:03 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-15 | E DARTMOUTH ST | 10/15/2020 2:46:31 PM | Verification Complete, Filter Installed By Staff
2020-10-16 | BAGLEY ST | 10/16/2020 11:05:43 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-16 | E LORADO AVE | 10/16/2020 1:09:18 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-19 | W FLINT PARK BLVD | 10/16/2020 3:02:42 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-19 | GRACE ST | 10/19/2020 10:18:04 AM | Resident Declined, Resident Already Installed Filter | Filter Cartridges Declined
2020-10-20 | N GRAND TRAVERSE | 10/20/2020 1:26:48 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-20 | N GRAND TRAVERSE | 10/20/2020 1:36:53 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-20 | N GRAND TRAVERSE | 10/20/2020 1:37:07 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-20 | FLUSHING RD | 10/20/2020 1:29:34 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided |  |  | Verification Incomplete, Resident Not Home
2020-10-20 | S BALLENGER HWY | 10/20/2020 1:23:19 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-21 | LELAND ST | 7/30/2020 8:55:00 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-21 | W WITHERBEE ST | 10/21/2020 5:54:54 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-21 | E MC CLELLAN ST | 10/21/2020 10:58:30 AM | Resident Declined, Alternative Water Filtration System
2020-10-21 | S BALLENGER HWY | 10/21/2020 9:18:36 AM | Verification Complete, Filter Installed By Staff
2020-10-23 | N GRAND TRAVERSE | 10/23/2020 9:55:18 AM | Verification Complete, Filter Installed By Staff
2020-10-23 | FLUSHING RD | 10/23/2020 9:22:33 AM | Resident Declined, Alternative Water Filtration System | Filter Cartridges Declined
2020-10-23 | S BALLENGER HWY | 10/23/2020 3:00:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-26 | W COURT ST | 10/26/2020 10:17:44 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-26 | BLANCHARD AVE | 10/26/2020 10:00:29 AM | Verification Complete, Filter Installed By Staff
2020-10-27 | W ATHERTON RD | 10/26/2020 1:21:02 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-27 | MAJOR ST | 10/27/2020 8:30:00 AM | Verification Complete, Filter Installed By Staff
2020-10-27 | BERKLEY ST | 10/27/2020 4:14:22 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-27 | W COURT ST | 10/26/2020 5:42:56 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-28 | BRADLEY AVE | 10/28/2020 9:32:13 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-28 | ST CLAIR ST | 10/28/2020 3:45:00 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-28 | BRADLEY AVE | 10/28/2020 1:15:55 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-28 | W UNIVERSITY AVE | 10/28/2020 9:47:45 AM | Resident Declined, Resident Already Installed Filter | Filter Cartridges Declined
2020-10-28 | W COURT ST | 10/28/2020 2:22:17 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-29 | CALUMET ST | 10/29/2020 8:30:28 AM | Resident Declined, Alternative Water Filtration System
2020-10-29 | BEECHER RD | 10/29/2020 4:36:45 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-29 | BEECHER RD | 10/29/2020 4:20:16 PM | Verification Complete, Filter Installed By Staff
2020-10-29 | REYNOLDS ST | 10/29/2020 10:32:43 AM | Verification Complete, Filter Installed By Staff
2020-10-29 | CLANCY AVE | 10/29/2020 11:38:31 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-29 | BEECHER RD | 10/29/2020 4:22:46 PM | Verification Complete, Filter Installed By Staff
2020-10-30 | BEECHER RD | 10/30/2020 4:22:29 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-30 | BEECHER RD | 10/30/2020 12:40:18 PM | Verification Complete, Filter Installed By Staff
2020-10-30 | BEECHER RD | 10/30/2020 9:31:35 AM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-10-30 | BEECHER RD | 10/30/2020 2:52:54 PM | Verification Complete, Filter Installed By Staff
2020-10-30 | SLOAN ST | 10/30/2020 5:11:55 PM | Verification Complete, Filter Installed By Staff
2020-10-30 | BEARD ST | 10/30/2020 10:00:00 AM | Resident Declined, Alternative Water Filtration System
2020-10-30 | BEECHER RD | 10/30/2020 4:30:34 PM | Verification Complete, Filter Installed By Staff
2020-10-31 | IDA AVE | 10/30/2020 6:20:18 PM | Verification Incomplete, Other (add staff comment) | Other (add staff comment) | No one lives here.
2020-11-02 | KELLAR AVE | 11/2/2020 9:00:20 AM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 11/5/2020 5:21:00 PM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 11/6/2020 4:42:00 PM | Verification Incomplete, Resident Not Home | Resident Not Home
2020-11-02 | MANN AVE | 11/2/2020 1:05:31 PM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 11/5/2020 5:00:00 PM | Verification Incomplete, Resident Not Home | Resident Not Home |  | 11/6/2020 4:16:00 PM | Verification Incomplete, Resident Not Home | Resident Not Home
2020-11-10 | LAPEER RD | 11/10/2020 4:32:17 PM | Verification Complete, Visual Confirmation of Filter Installation By Staff | Filter Cartridges Provided
2020-11-13 | LEITH ST | 11/13/2020 9:05:00 AM | Verification Complete, Filter Installed By Staff

## 3-Resident Declinations
Address | Public Pipe Type | Prv. Exp. Pipe Type
W JAMIESON ST | Unknown | Unknown
MASON ST | Unknown | Unknown
WHITE ST | Unknown | Unknown
W NEWALL ST | Unknown | Unknown
W PATERSON ST | Unknown | Unknown
E WITHERBEE ST | Copper | Copper
W GENESEE ST | Unknown | Unknown
WISNER ST | Unknown | Unknown
TRUMBULL AVE | Unknown | Unknown
W MC CLELLAN ST | Unknown | Unknown
N CHEVROLET AVE | Unknown | Unknown
DUPONT ST | Unknown | Unknown
WELCH BLVD | Unknown | Unknown
COPEMAN BLVD | Unknown | Unknown
COPEMAN BLVD | Unknown | Unknown
SENECA ST | Unknown | Unknown
N BALLENGER HWY | Unknown | Unknown
COPEMAN BLVD | Unknown | Unknown
COPEMAN BLVD | Unknown | Unknown
WINONA ST | Unknown | Unknown
N BALLENGER HWY | Unknown | Unknown
CONCORD ST | Unknown | Unknown
SENECA ST | Unknown | Unknown
WOLCOTT ST | Unknown | Unknown
N STEVENSON ST | Unknown | Unknown
N STEVENSON ST | Unknown | Unknown
N STEVENSON ST | Unknown | Unknown
MACKIN RD | Unknown | Unknown
WOLCOTT ST | Unknown | Unknown
N STEVENSON ST | Unknown | Unknown
PROSPECT ST | Unknown | Unknown
FOREST HILL AVE | Unknown | Unknown
WOLCOTT ST | Unknown | Unknown
PROSPECT ST | Unknown | Unknown
WOLCOTT ST | Unknown | Unknown
NORBERT ST | Unknown | Unknown
NORBERT ST | Unknown | Unknown
NORBERT ST | Unknown | Unknown
MILBOURNE AVE | Unknown | Unknown
BAGLEY ST | Unknown | Unknown
ORCHARD LN | Unknown | Unknown
ORCHARD LN | Unknown | Unknown
NOLEN DR | Unknown | Unknown
MARQUETTE ST | Unknown | Unknown
RASKOB ST | Unknown | Unknown
BERKLEY ST | Unknown | Unknown
RASKOB ST | Unknown | Unknown
FLUSHING RD | Unknown | Unknown
FLUSHING RD | Unknown | Unknown
PERRY ST | Unknown | Unknown
DUPONT ST | Unknown | Unknown
STOCKDALE ST | Unknown | Unknown
NEOME DR | Unknown | Unknown
COPEMAN BLVD | Unknown | Unknown
MASON ST | Unknown | Unknown
WELCH BLVD | Unknown | Unknown
BEGOLE ST | Unknown | Unknown
BEGOLE ST | Unknown | Unknown
MC INTOSH DR | Unknown | Unknown
MARY ST | Unknown | Unknown
E WOOD ST | Unknown | Unknown
AVENUE A | Unknown | Unknown
ROOT ST | Unknown | Unknown
WILLIAMS ST | Unknown | Unknown
DUPONT ST | Unknown | Unknown
WOLCOTT ST | Unknown | Unknown
SEVENTH AVE | Unknown | Unknown
ROOT ST | Unknown | Unknown
MASON ST | Unknown | Unknown
MASON ST | Unknown | Unknown
N STEVENSON ST | Unknown | Unknown
FROST ST | Unknown | Unknown
MASON ST | Unknown | Unknown
W SECOND ST | Unknown | Unknown
ANN ARBOR ST | Unknown | Unknown
W SECOND ST | Lead | Galvanized
W SECOND ST | Unknown | Unknown
EDGEMONT AVE | Unknown | Unknown
SUNSET DR | Unknown | Unknown
SUNSET DR | Unknown | Unknown
FERNDALE PL | Unknown | Unknown
WESTCOMBE AVE | Unknown | Unknown
EDGEMONT AVE | Unknown | Unknown
NORWOOD DR | Unknown | Unknown
GRATIOT AVE | Unknown | Unknown
GRATIOT AVE | Unknown | Unknown
SHEFFIELD AVE | Unknown | Unknown
BRENTWOOD DR | Unknown | Unknown
ALLENDALE PL | Unknown | Unknown
SUNSET DR | Unknown | Unknown
PENCOMBE PL | Unknown | Unknown
PENCOMBE PL | Unknown | Unknown
CARTIER ST | Unknown | Unknown
FRANK ST | Unknown | Unknown
DICKINSON ST | Unknown | Unknown
DICKINSON ST | Unknown | Unknown
WESTCOMBE AVE | Unknown | Unknown
GRATIOT AVE | Unknown | Unknown
BEECHER RD | Unknown | Unknown
W COURT ST | Unknown | Unknown
BARNEY AVE | Unknown | Unknown
MANN AVE | Unknown | Unknown
MANN AVE | Unknown | Unknown
HUBBARD AVE | Unknown | Unknown
MANN AVE | Unknown | Unknown
KNAPP AVE | Unknown | Unknown
KNAPP AVE | Unknown | Unknown
W COURT ST | Unknown | Unknown
BRADLEY AVE | Unknown | Unknown
FIELDING ST | Unknown | Unknown
FIELDING ST | Unknown | Unknown
GIBSON ST | Unknown | Unknown
GIBSON ST | Unknown | Unknown
FIELDING ST | Unknown | Unknown
BRADLEY AVE | Unknown | Unknown
REYNOLDS ST | Unknown | Unknown
REYNOLDS ST | Unknown | Unknown
HAMMOND ST | Unknown | Unknown
W KEARSLEY ST | Unknown | Unknown
W KEARSLEY ST | Unknown | Unknown
LESTER ST | Unknown | Unknown
REID ST | Unknown | Unknown
REID ST | Unknown | Unknown
REID ST | Unknown | Unknown
ZIMMERMAN ST | Unknown | Unknown
CORUNNA RD | Unknown | Unknown
SWAYZE ST | Unknown | Unknown
TACKEN ST | Unknown | Unknown
W COURT ST | Unknown | Unknown
SUNDAY ST | Unknown | Unknown
ZIMMERMAN ST | Unknown | Unknown
MANNHALL AVE | Unknown | Unknown
SALISBURY AVE | Unknown | Unknown
TACKEN ST | Unknown | Unknown
DARLING ST | Unknown | Unknown
ORR ST | Unknown | Unknown
JOHNSON AVE | Unknown | Unknown
BLACKINGTON AVE | Unknown | Unknown
AUGUSTA ST | Unknown | Unknown
WHITNEY AVE | Unknown | Unknown
WHITNEY AVE | Unknown | Unknown
CLAIRMONT ST | Unknown | Unknown
LARCHMONT ST | Unknown | Unknown
HOGARTH AVE | Unknown | Unknown
AUGUSTA ST | Unknown | Unknown
MANN AVE | Unknown | Unknown
BROWN ST | Unknown | Unknown
WHITNEY AVE | Unknown | Unknown
HUGHES AVE | Unknown | Unknown
HUGHES AVE | Unknown | Unknown
SWAYZE ST | Unknown | Unknown
BROWN ST | Unknown | Unknown
HUGHES AVE | Unknown | Unknown
HUGHES AVE | Unknown | Unknown
KNIGHT AVE | Unknown | Unknown
KNIGHT AVE | Unknown | Unknown
KNIGHT AVE | Unknown | Unknown
KNIGHT AVE | Unknown | Unknown
CUMINGS AVE | Unknown | Unknown
HERRICK ST | Unknown | Unknown
LARCHMONT ST | Unknown | Unknown
CHICAGO BLVD | Unknown | Unknown
SWAYZE ST | Unknown | Unknown
SWAYZE ST | Unknown | Unknown
BROWN ST | Unknown | Unknown
CUMINGS AVE | Unknown | Unknown
CUMINGS AVE | Unknown | Unknown
BEAVER AVE | Unknown | Unknown
BEAVER AVE | Unknown | Unknown
MONTERAY AVE | Unknown | Unknown
CUMINGS AVE | Unknown | Unknown
BRABYN AVE | Unknown | Unknown
BRABYN AVE | Unknown | Unknown
WOODCROFT AVE | Unknown | Unknown
CHICAGO BLVD | Unknown | Unknown
MILLER RD | Unknown | Unknown
PARKSIDE DR | Unknown | Unknown
WESTWOOD PKWY | Unknown | Unknown
MILLER RD | Unknown | Unknown
COLCHESTER RD | Unknown | Unknown
PARKSIDE DR | Unknown | Unknown
BRIAR HILL RD | Unknown | Unknown
CROOKED LN | Unknown | Unknown
HAWTHORNE DR | Unknown | Unknown
WESTWOOD PKWY | Unknown | Unknown
OVERHILL DR | Unknown | Unknown
WESTWOOD PKWY | Unknown | Unknown
PARKSIDE DR | Unknown | Unknown
MILLER RD | Unknown | Unknown
VAN BUSKIRK ST | Unknown | Unknown
OSSINGTON AVE | Unknown | Unknown
BAYBERRY LN | Unknown | Unknown
BAYBERRY LN | Unknown | Unknown
GREENBROOK LN | Unknown | Unknown
GREENBROOK LN | Unknown | Unknown
TIMBERLANE DR | Unknown | Unknown
TIMBERLANE DR | Unknown | Unknown
TIMBERLANE DR | Unknown | Unknown
TIMBERLANE DR | Unknown | Unknown
VICTORIA AVE | Unknown | Unknown
LINCOLN AVE | Unknown | Unknown
LINCOLN AVE | Unknown | Unknown
PETTIBONE AVE | Unknown | Unknown
WALDMAN AVE | Unknown | Unknown
WALDMAN AVE | Unknown | Unknown
WALDMAN AVE | Unknown | Unknown
WALDMAN AVE | Unknown | Unknown
NEUBERT AVE | Unknown | Unknown
PETTIBONE AVE | Unknown | Unknown
W ATHERTON RD | Unknown | Unknown
PARK FOREST DR | Unknown | Unknown
PARK FOREST DR | Unknown | Unknown
PENBROOK LN | Unknown | Unknown
PARK FOREST DR | Unknown | Unknown
WINDSOR LN | Unknown | Unknown
GREENBRIAR LN | Unknown | Unknown
GREENBROOK LN | Unknown | Unknown
CRESTBROOK LN | Unknown | Unknown
LYNBROOK DR | Unknown | Unknown
LAUREL OAK DR | Unknown | Unknown
LAUREL OAK DR | Unknown | Unknown
LAUREL OAK DR | Unknown | Unknown
LAUREL OAK DR | Unknown | Unknown
LAUREL OAK DR | Unknown | Unknown
LAUREL OAK DR | Unknown | Unknown
BERRYWOOD LN | Unknown | Unknown
BERRYWOOD LN | Unknown | Unknown
W ATHERTON RD | Unknown | Unknown
HARGOTT AVE | Unknown | Unknown
CAMPBELL ST | Unknown | Unknown
CAMPBELL ST | Unknown | Unknown
CAMPBELL ST | Unknown | Unknown
CAMPBELL ST | Unknown | Unknown
LELAND ST | Unknown | Unknown
HUCKLEBERRY LN | Unknown | Unknown
GREENBROOK LN | Unknown | Unknown
GREENBROOK LN | Unknown | Unknown
PINEHURST AVE | Unknown | Unknown
PINEHURST AVE | Unknown | Unknown
PINEHURST AVE | Unknown | Unknown
PINEHURST AVE | Unknown | Unknown
PINEHURST AVE | Unknown | Unknown
WYOMING AVE | Unknown | Unknown
ARIZONA AVE | Unknown | Unknown
LEITH ST | Unknown | Unknown
DAKOTA AVE | Unknown | Unknown
MARYLAND AVE | Unknown | Unknown
CRAIG DR | Unknown | Unknown
LEITH ST | Unknown | Unknown
N DEXTER ST | Unknown | Unknown
LEITH ST | Unknown | Unknown
DAKOTA AVE | Unknown | Unknown
BRANCH RD | Unknown | Unknown
DELAWARE AVE | Unknown | Unknown
DELAWARE AVE | Unknown | Unknown
DELAWARE AVE | Unknown | Unknown
BEECHWOOD AVE | Unknown | Unknown
BEECHWOOD AVE | Unknown | Unknown
BEECHWOOD AVE | Unknown | Unknown
BEECHWOOD AVE | Unknown | Unknown
RISEDORPH AVE | Unknown | Unknown
RISEDORPH AVE | Unknown | Unknown
RISEDORPH AVE | Unknown | Unknown
RISEDORPH AVE | Copper | Copper
WOODROW AVE | Unknown | Unknown
WOODROW AVE | Unknown | Unknown
WOODROW AVE | Unknown | Unknown
WOODROW AVE | Unknown | Unknown
WOODROW AVE | Unknown | Unknown
WOODROW AVE | Unknown | Unknown
BENNETT AVE | Unknown | Unknown
STARKWEATHER ST | Unknown | Unknown
HOLLY AVE | Unknown | Unknown
DAVISON RD | Lead | Copper
WHITTIER ST | Unknown | Unknown
WHITTIER ST | Unknown | Unknown
HOLLY AVE | Unknown | Unknown
HOLLY AVE | Unknown | Unknown
HOLLY AVE | Unknown | Unknown
ARIZONA AVE | Unknown | Unknown
LEWIS ST | Unknown | Unknown
ARIZONA AVE | Unknown | Unknown
WYOMING AVE | Unknown | Unknown
MARYLAND AVE | Unknown | Unknown
LEITH ST | Unknown | Unknown
MARYLAND AVE | Unknown | Unknown
MARYLAND AVE | Unknown | Unknown
MARYLAND AVE | Unknown | Unknown
BELLE AVE | Unknown | Unknown
JANE AVE | Unknown | Unknown
BROADWAY BLVD | Unknown | Unknown
BROADWAY BLVD | Unknown | Unknown
DAVISON RD | Unknown | Unknown
DAVISON RD | Unknown | Unknown
DAVISON RD | Unknown | Unknown
DELAWARE AVE | Unknown | Unknown
BROADWAY BLVD | Unknown | Unknown
ARLINGTON AVE | Unknown | Unknown
LEVERN ST | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
COLUMBIA LN | Unknown | Unknown
COLUMBIA LN | Unknown | Unknown
COLUMBIA LN | Unknown | Unknown
COLUMBIA DR | Unknown | Unknown
COLUMBIA DR | Unknown | Unknown
LOYOLA LN | Unknown | Unknown
LOYOLA LN | Unknown | Unknown
LOYOLA LN | Unknown | Unknown
LOYOLA DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
SPELLMAN DR | Unknown | Unknown
LOYOLA DR | Unknown | Unknown
LOYOLA DR | Unknown | Unknown
MARQUETTE DR | Unknown | Unknown
MARQUETTE DR | Unknown | Unknown
WILBERFORCE LN | Unknown | Unknown
WILBERFORCE LN | Unknown | Unknown
WILBERFORCE LN | Unknown | Unknown
WILBERFORCE LN | Unknown | Unknown
WILBERFORCE CIR | Unknown | Unknown
WILBERFORCE CIR | Unknown | Unknown
WILBERFORCE CIR | Unknown | Unknown
WILBERFORCE CIR | Unknown | Unknown
WILBERFORCE DR | Unknown | Unknown
WILBERFORCE DR | Unknown | Unknown
LOYOLA DR | Unknown | Unknown
LOYOLA DR | Unknown | Unknown
VANDERBILT DR | Unknown | Unknown
COLUMBIA DR | Unknown | Unknown
COLUMBIA CIR | Unknown | Unknown
ROOSEVELT AVE | Unknown | Unknown
ROOSEVELT AVE | Unknown | Unknown
OHIO AVE | Unknown | Unknown
PENNSYLVANIA AVE | Unknown | Unknown
KEARSLEY PK BLVD | Unknown | Unknown
KANSAS AVE | Unknown | Unknown
PENOYER CT | Unknown | Unknown
ARLINGTON AVE | Unknown | Unknown
PENNSYLVANIA AVE | Unknown | Unknown
N LYNCH AVE | Unknown | Unknown
OHIO AVE | Unknown | Unknown
N LYNCH AVE | Unknown | Unknown
MISSOURI AVE | Unknown | Unknown
NEBRASKA AVE | Unknown | Unknown
KANSAS AVE | Unknown | Unknown
MISSOURI AVE | Unknown | Unknown
KENTUCKY AVE | Unknown | Unknown
NEBRASKA AVE | Unknown | Unknown
NEBRASKA AVE | Unknown | Unknown
S FRANKLIN AVE | Unknown | Unknown
LAFAYETTE ST | Unknown | Unknown
CHANDLER AVE | Unknown | Unknown
COMMONWEALTH AVE | Unknown | Unknown
GOLD AVE | Unknown | Unknown
S LYNCH AVE | Unknown | Unknown
COMMONWEALTH AVE | Unknown | Unknown
COMMONWEALTH AVE | Unknown | Unknown
WINDEMERE AVE | Unknown | Unknown
MOUNTAIN AVE | Unknown | Unknown
BINGHAM ST | Unknown | Unknown
BRENT AVE | Unknown | Unknown
IVANHOE AVE | Unknown | Unknown
IVANHOE AVE | Unknown | Unknown
LORRAINE AVE | Unknown | Unknown
SOMERSET LN | Unknown | Unknown
EASTHAMPTON DR | Unknown | Unknown
FENWICK CIR | Unknown | Unknown
EASTHAMPTON DR | Unknown | Unknown
WORCHESTER DR | Unknown | Unknown
LIPPINCOTT BLVD | Unknown | Unknown
GLOUCESTER ST | Unknown | Unknown
RIVERDALE RD | Unknown | Unknown
RIVERDALE RD | Unknown | Unknown
BEARD ST | Unknown | Unknown
KENSINGTON AVE | Unknown | Unknown
S FRANKLIN AVE | Unknown | Unknown
S FRANKLIN AVE | Unknown | Unknown
MAXINE ST | Unknown | Unknown
LINWOOD AVE | Unknown | Unknown
S FRANKLIN AVE | Unknown | Unknown
LAFAYETTE ST | Unknown | Unknown
HILLS ST | Unknown | Unknown
CALUMET ST | Unknown | Unknown
CALUMET ST | Unknown | Unknown
MAGNOLIA AVE | Unknown | Unknown
E TWELFTH ST | Unknown | Unknown
LIPPINCOTT BLVD | Unknown | Unknown
PINGREE AVE | Unknown | Unknown
BARKS ST | Unknown | Unknown
MC PHAIL ST | Unknown | Unknown
SEYMOUR ST | Unknown | Unknown
KENT ST | Unknown | Unknown
CHELAN ST | Unknown | Unknown
E COURT ST | Unknown | Unknown
E EIGHTH ST | Unknown | Unknown
E NINTH ST | Unknown | Unknown
W SEVENTH ST | Unknown | Unknown
BROAD CT | Unknown | Unknown
BROAD CT | Unknown | Unknown
BROAD CT | Unknown | Unknown
BROAD CT | Unknown | Unknown
W THIRTEENTH ST | Unknown | Unknown
W THIRTEENTH ST | Unknown | Unknown
W THIRTEENTH ST | Unknown | Unknown
CLIFFORD ST | Unknown | Unknown
ERIE ST | Unknown | Unknown
PARTRIDGE ST | Unknown | Unknown
PARTRIDGE ST | Unknown | Unknown
TORONTO ST | Unknown | Unknown
LEXINGTON AVE | Unknown | Unknown
LEXINGTON AVE | Unknown | Unknown
S SAGINAW ST | Unknown | Unknown
BARRIE AVE | Unknown | Unknown
VICTORIA AVE | Unknown | Unknown
CAMDEN AVE | Unknown | Unknown
VICTORIA AVE | Unknown | Unknown
VICTORIA AVE | Unknown | Unknown
S GRAND TRAVERSE | Unknown | Unknown
BRUNSWICK AVE | Unknown | Unknown
BRUNSWICK AVE | Unknown | Unknown
W ATHERTON RD | Unknown | Unknown
VERMILYA AVE | Unknown | Unknown
LINCOLN AVE | Unknown | Unknown
S GRAND TRAVERSE | Unknown | Unknown
LINCOLN AVE | Unknown | Unknown
W BELVIDERE AVE | Unknown | Unknown
W LAKEVIEW AVE | Unknown | Unknown
HOWARD AVE | Unknown | Unknown
LAKEWOOD CT | Unknown | Unknown
LAKEWOOD CT | Unknown | Unknown
LAKEWOOD DR | Unknown | Unknown
PEWANAGA PL | Copper | Copper
LAKEWOOD DR | Unknown | Unknown
PEWANAGA PL | Unknown | Unknown
PEWANAGA PL | Unknown | Unknown
PINETREE DR | Unknown | Unknown
DEARBORN ST | Unknown | Unknown
CHEROKEE AVE | Unknown | Unknown
COMANCHE AVE | Unknown | Unknown
MENOMINEE AVE | Unknown | Unknown
DEARBORN ST | Unknown | Unknown
ALGONQUIN AVE | Unknown | Unknown
RED ARROW RD | Unknown | Unknown
RED ARROW RD | Unknown | Unknown
RED ARROW RD | Unknown | Unknown
DELL AVE | Unknown | Unknown
CUSTER AVE | Unknown | Unknown
RED ARROW RD | Unknown | Unknown
LETA AVE | Unknown | Unknown
MC KINLEY AVE | Unknown | Unknown
BUCKINGHAM AVE | Unknown | Unknown
BUCKINGHAM AVE | Unknown | Unknown
BUCKINGHAM AVE | Unknown | Unknown
CHEROKEE AVE | Unknown | Unknown
CHEYENNE AVE | Unknown | Unknown
MC KINLEY AVE | Unknown | Unknown
LOCHHEAD AVE | Unknown | Unknown
CIRCLE DR | Unknown | Unknown
DELL AVE | Unknown | Unknown
RED ARROW RD | Unknown | Unknown
MACDONALD AVE | Unknown | Unknown
OGEMA AVE | Unknown | Unknown
MACDONALD AVE | Unknown | Unknown
MACDONALD AVE | Unknown | Unknown
MACDONALD AVE | Unknown | Unknown
MACDONALD AVE | Unknown | Unknown
E HEMPHILL RD | Unknown | Unknown
MACDONALD AVE | Unknown | Unknown
CRAWFORD ST | Copper | Lead
CRAWFORD ST | Unknown | Unknown
CRAWFORD ST | Unknown | Unknown
CRAWFORD ST | Unknown | Unknown
CRAWFORD ST | Unknown | Unknown
CRAWFORD ST | Unknown | Unknown
ALVORD AVE | Unknown | Unknown
HURON ST | Unknown | Unknown
INGLESIDE AVE | Unknown | Unknown
INGLESIDE AVE | Unknown | Unknown
HURON ST | Unknown | Unknown
CUTHBERTSON ST | Unknown | Unknown
CUTHBERTSON ST | Unknown | Unknown
E CARPENTER RD | Unknown | Unknown
SUBURBAN CT | Unknown | Unknown
DUPONT ST | Unknown | Unknown
E PIERSON RD | Unknown | Unknown
W CARPENTER RD | Unknown | Unknown
JANICE DR | Unknown | Unknown
BELLTREE LN | Unknown | Unknown
BARBARA DR | Unknown | Unknown
COLONIAL DR | Unknown | Unknown
COLONIAL DR | Unknown | Unknown
COLONIAL DR | Unknown | Unknown
CRANWOOD DR | Unknown | Unknown
CHATHAM DR | Unknown | Unknown
LILLIAN DR | Unknown | Unknown
BARBARA DR | Unknown | Unknown
GRIGGS DR | Unknown | Unknown
GRIGGS DR | Unknown | Unknown
SALLY CT | Unknown | Copper
SALLY CT | Unknown | Unknown
ROSELAWN DR | Unknown | Unknown
ROSELAWN DR | Unknown | Unknown
CASTLE LN | Unknown | Unknown
W STEWART AVE | Unknown | Unknown
CLOVERLAWN DR | Unknown | Unknown
CLOVERLAWN DR | Unknown | Unknown
BERGER DR | Unknown | Unknown
W STEWART AVE | Unknown | Unknown
BALDWIN BLVD | Unknown | Unknown
COMSTOCK AVE | Unknown | Unknown
FOREST HILL AVE | Unknown | Unknown
FOREST HILL AVE | Unknown | Unknown
W PASADENA AVE | Unknown | Unknown
W MARENGO AVE | Unknown | Unknown
W PHILADELPHIA BLV | Unknown | Unknown
W STEWART AVE | Unknown | Unknown
W STEWART AVE | Unknown | Unknown
W FLINT PARK BLVD | Unknown | Unknown
W STEWART AVE | Unknown | Unknown
W STEWART AVE | Unknown | Unknown
W STEWART AVE | Copper | Copper
M L KING AVE | Unknown | Unknown
E MARENGO AVE | Unknown | Unknown
E STEWART AVE | Unknown | Unknown
MASON ST | Unknown | Unknown
M L KING AVE | Unknown | Unknown
M L KING AVE | Unknown | Unknown
M L KING AVE | Unknown | Unknown
HAMPSTEAD DR | Unknown | Unknown
MARGATE CIR | Unknown | Unknown
MARGATE CIR | Unknown | Unknown
HAMPSTEAD DR | Unknown | Unknown
HAMPSTEAD DR | Unknown | Unknown
TIPTREE PATH | Copper | Copper
WILTON PL | Unknown | Unknown
WILTON PL | Unknown | Unknown
WILTON PL | Unknown | Unknown
E PIERSON RD | Unknown | Unknown
EATON PL | Unknown | Unknown
WINSFORD BYWAY | Unknown | Unknown
EATON PL | Unknown | Unknown
DANIEL DR | Unknown | Unknown
ELMRIDGE DR | Unknown | Unknown
ELMRIDGE DR | Unknown | Unknown
WEBSTER RD | Unknown | Unknown
ROSEANNA DR | Unknown | Unknown
E PIERSON RD | Unknown | Unknown
E ALMA AVE | Unknown | Unknown
E ALMA AVE | Unknown | Unknown
E ALMA AVE | Unknown | Unknown
E PIERSON RD | Unknown | Unknown
ADDISON ST | Unknown | Unknown
ADDISON ST | Unknown | Unknown
ADDISON ST | Unknown | Unknown
ALPHA WAY | Unknown | Unknown
BETA LN | Unknown | Unknown
PLAINFIELD AVE | Unknown | Unknown
WESTERN RD | Unknown | Unknown
WEAVER ST | Unknown | Unknown
WEAVER ST | Unknown | Unknown
WEAVER ST | Unknown | Unknown
WEAVER ST | Unknown | Unknown
KNAPMAN ST | Unknown | Unknown
COLON ST | Unknown | Unknown
GAMMA LN | Unknown | Unknown
GAMMA LN | Unknown | Unknown
EPSILON TR | Unknown | Unknown
EPSILON TR | Unknown | Unknown
EPSILON TR | Unknown | Unknown
PLAINFIELD AVE | Unknown | Unknown
PLAINFIELD AVE | Unknown | Unknown
BRANCH RD | Unknown | Unknown
COGGINS AVE | Unknown | Unknown
BRANCH RD | Unknown | Unknown
AGREE AVE | Unknown | Unknown
BRANCH RD | Unknown | Unknown
TWILIGHT DR | Unknown | Unknown
TWILIGHT DR | Unknown | Unknown
TWILIGHT DR | Unknown | Unknown
SUNRIDGE DR | Unknown | Unknown
SUNRIDGE DR | Copper | Copper
SUNRIDGE DR | Unknown | Unknown
TWILIGHT DR | Unknown | Unknown
TWILIGHT DR | Unknown | Unknown
SUNRIDGE DR | Unknown | Unknown