## WQP 081617
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-08-16 | HK | 21.3 | 0.22 | 7.66 | 78 | 30.5 | 102 | 0.089 | 0.01 | 15 | 3.55 | 2017-08-02 | ND
#16 (2) | E Court St | 2017-08-16 | HK | 21.7 | 0.22 | 7.65 | 80 | 31.3 | 102 | 0.098 | 0.01 | 15 | 3.57 | 2017-08-02 | ND
#17 (3) | S. Dort Hwy | 2017-08-16 | HK | 21.1 | 0.22 | 7.66 | 80 | 31.3 | 102 | 0.096 | 0.01 | 15 | 3.51 | 2017-08-02 | ND
#4 | Corunna Rd. | 2017-08-11 | HK | 21.8 | 0.22 | 7.62 | 78 | 29.7 | 104 | 0.217 | 0.02 | 15 | 3.62 | 2017-07-28 | ND
#1 (5) | Chevrolet Ave. | 2017-08-11 | HK | 21.5 | 0.23 | 7.61 | 80 | 29.7 | 104 | 0.224 | 0.03 | 15 | 3.51 | 2017-07-28 | ND
#19 (6) | MLK Blvd. | 2017-08-10 | HK | 22.2 | 0.23 | 7.6 | 80 | 30.5 | 100 | 0.221 | 0.04 | 15 | 3.46 | 2017-07-27 | ND
#9 (7) | Clio Rd. | 2017-08-10 | HK | 21.8 | 0.23 | 7.61 | 80 | 31.3 | 100 | 0.075 | 0.01 | 15 | 3.55 | 2017-07-27 | ND
#8 | N. Saginaw St. | 2017-08-10 | HK | 21.3 | 0.24 | 7.62 | 80 | 31.3 | 100 | 0.108 | 0.02 | 15 | 3.58 | 2017-07-27 | ND
CSII | Control Station #2 N. Dort Hwy. | 2017-08-15 | HK | 19.1 | 0.22 | 7.44 | 76 | 30.5 | 100 | 0.078 | 0.01 | 14 | 1.24 | 2017-08-01 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-08-14 | WB | 20.6 | 0.22 | 7.65 | 78 | 30.5 | 102 | 0.239 | 0.02 | 15 | 3.68 | 2017-08-02 | ND
#12 | Garland St | 2017-08-15 | HK | 24.2 | 0.22 | 7.64 | 78 | 30.5 | 100 | 0.178 | 0.02 | 14 | 3.42 | 2017-08-01 | ND
*SITE NAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 080917
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Admiral Gas Station 3802 Davison Rd. | 2017-08-08 | HK | 21.5 | 0.23 | 7.62 | 78 | 30.5 | 102 | 0.09 | 0.02 | 15 | 3.56 | 2017-08-02 | ND
#16 (2) | Rite - Aid 2838 E Court St | 2017-08-09 | HK | 21.3 | 0.23 | 7.62 | 80 | 30.5 | 102 | 0.077 | 0.01 | 15 | 3.64 | 2017-08-02 | ND
#17 (3) | Liquor Palace 3302 S. Dort Hwy | 2017-08-09 | HK | 20.7 | 0.23 | 7.58 | 80 | 30.5 | 102 | 0.074 | 0.01 | 15 | 3.5 | 2017-08-02 | ND
#4 | Rite - Aid 3606 Corunna Rd. | 2017-08-04 | HK | 21.6 | 0.23 | 7.49 | 80 | 32.9 | 102 | 0.279 | 0.03 | 15 | 3.64 | 2017-07-28 | ND
#1 (5) | University Market 1069 Chevrolet Ave. | 2017-08-04 | HK | 21.2 | 0.23 | 7.5 | 78 | 32.9 | 102 | 0.293 | 0.06 | 15 | 3.66 | 2017-07-28 | ND
#19 (6) | Salem Housing 3216 MLK Blvd. | 2017-08-03 | HK | 22.5 | 0.23 | 7.71 | 78 | 31.3 | 104 | 0.746 | 0.06 | 15 | 3.99 | 2017-07-27 | ND
#9 (7) | Rite-Aid 5018 Clio Rd. 48504 | 2017-08-03 | HK | 21.4 | 0.23 | 7.59 | 78 | 31.3 | 102 | 0.14 | 0.01 | 15 | 3.61 | 2017-07-27 | ND
#8 | N. Flint Automotive 6204 N. Saginaw St. | 2017-08-03 | HK | 20.9 | 0.23 | 7.62 | 80 | 31.3 | 102 | 0.171 | 0.01 | 15 | 3.68 | 2017-07-27 | ND
CSII | Control Station #2 4500 N. Dort Hwy. | 2017-08-08 | HK | 19.7 | 0.23 | 7.46 | 78 | 30.5 | 102 | 0.153 | 0.01 | 14 | 1.35 | 2017-08-01 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-08-07 | WB | 20.7 | 0.23 | 7.55 | 80 | 31.3 | 104 | 0.297 | 0.06 | 15 | 3.56 | 2017-08-02 | ND
#12 | Hoffman's 2503 Garland St | 2017-08-04 | HK | 24.5 | 0.23 | 7.48 | 80 | 32.9 | 102 | 0.46 | 0.06 | 15 | 3.92 | 2017-08-01 | ND
*Hoffman's is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 080217
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-08-02 | HK | 21.5 | 0.25 | 7.5 | 78 | 31.3 | 104 | 0.079 | 0.01 | 15 | 3.51 | 2017-07-21 | ND
#16 (2) | E Court St | 2017-08-02 | HK | 21.7 | 0.25 | 7.38 | 80 | 31.3 | 104 | 0.121 | 0.01 | 14 | 3.44 | 2017-07-21 | ND
#17 (3) | S. Dort Hwy | 2017-08-02 | HK | 21.4 | 0.25 | 7.46 | 78 | 31.3 | 104 | 0.604 | 0.01 | 16 | 3.49 | 2017-07-21 | ND
#4 | Corunna Rd. | 2017-07-28 | HK | 21.1 | 0.25 | 7.42 | 80 | 29.7 | 100 | 0.166 | 0.02 | 14 | 3.62 | 2017-07-24 | ND
#1 (5) | Chevrolet Ave. | 2017-07-28 | HK | 20.5 | 0.25 | 7.27 | 80 | 29.7 | 102 | 0.197 | 0.03 | 14 | 3.54 | 2017-07-24 | ND
#19 (6) | MLK Blvd. | 2017-07-27 | HK | 22.1 | 0.25 | 7.46 | 80 | 30.5 | 100 | 0.27 | 0.04 | 15 | 3.49 | 2017-07-20 | ND
#9 (7) | Clio Rd. 48504 | 2017-07-27 | HK | 21.2 | 0.24 | 7.4 | 80 | 31.3 | 102 | 0.093 | 0.01 | 15 | 3.57 | 2017-07-25 | ND
#8 | N. Saginaw St. | 2017-07-27 | HK | 20.8 | 0.26 | 7.44 | 80 | 31.3 | 102 | 0.078 | 0.01 | 15 | 3.59 | 2017-07-25 | ND
CSII | Control Station #2 4500 N. Dort Hwy. | 2017-08-01 | WB | 20.1 | 0.23 | 7.33 | 80 | 31.3 | 102 | 0.19 | 0.01 | 15 | 1.41 | 2017-07-25 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-07-31 | WB | 19.8 | 0.24 | 7.47 | 78 | 31.3 | 102 | 0.238 | 0.05 | 15 | 3.62 | 2017-07-20 | ND
#12 | Garland St | 2017-08-01 | HK | 23.4 | 0.25 | 7.38 | 80 | 31.3 | 102 | 0.147 | 0.03 | 15 | 3.58 | 2017-07-25 | ND
*SITENAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 072517
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-07-21 | WB | 20.4 | 0.24 | 7.63 | 78 | 30.5 | 104 | 0.061 | 0.01 | 14 | 3.54 | 2017-07-07 | ND
#16 (2) | Court St | 2017-07-21 | WB | 21 | 0.24 | 7.59 | 78 | 30.5 | 104 | 0.081 | 0.02 | 14 | 3.45 | 2017-03-01 | ND
#17 (3) | Dort Hwy | 2017-07-21 | WB | 20.4 | 0.24 | 7.58 | 78 | 30.5 | 104 | 0.072 | 0.01 | 14 | 3.49 | 2017-07-07 | ND
#4 | Corunna Rd. | 2017-07-24 | WB | 21.4 | 0.25 | 7.62 | 80 | 31.3 | 104 | 0.23 | 0.03 | 14 | 3.64 | 2017-07-10 | ND
#1 (5) | Chevrolet Ave. | 2017-07-24 | WB | 20.4 | 0.24 | 7.64 | 78 | 31.3 | 104 | 0.156 | 0.02 | 14 | 3.49 | 2017-07-10 | ND
#19 (6) | MLK Blvd. | 2017-07-20 | WB | 23.7 | 0.24 | 7.68 | 76 | 31.3 | 100 | 0.148 | 0.05 | 13 | 3.31 | 2017-07-06 | ND
#9 (7) | Clio Rd. | 2017-07-25 | HK | 21.3 | 0.25 | 7.62 | 78 | 29.7 | 102 | 0.179 | 0.02 | 14 | 3.59 | 2017-07-11 | ND
#8 | Saginaw St. | 2017-07-25 | HK | 20.3 | 0.25 | 7.63 | 78 | 28.9 | 102 | 0.177 | 0.02 | 14 | 3.66 | 2017-07-11 | ND
CSII | Control Station #2 N. Dort Hwy. | 2017-07-25 | HK | 19.4 | 0.24 | 7.29 | 78 | 30.5 | 104 | 0.23 | 0.01 | 15 | 1.27 | 2017-07-11 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-07-20 | WB | 18.7 | 0.23 | 7.56 | 76 | 31.3 | 100 | 0.233 | 0.08 | 13 | 3.58 | 2017-07-06 | ND
#12 | Garland St | 2017-07-25 | HK | 22.6 | 0.25 | 7.57 | 78 | 29.7 | 102 | 0.153 | 0.02 | 14 | 3.48 | 2017-07-11 | ND
*SITE NAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 071917
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-07-19 | WB | 20.5 | 0.23 | 7.62 | 76 | 31.3 | 100 | 0.081 | 0.02 | 13 | 3.54 | 2017-07-07 | ND
#15 | Davison Rd | 2017-07-19 | WB | 20.7 | 0.24 | 7.64 | 76 | 29.7 | 100 | 0.378 | 0.07 | 13 | 3.65 | 2017-03-01 | ND
#17 (3) | Dort Hwy | 2017-07-19 | WB | 19.5 | 0.24 | 7.56 | 76 | 32.9 | 98 | 0.178 | 0.02 | 13 | 3.58 | 2017-07-07 | ND
#4 | Corunna Rd. | 2017-07-14 | WB | 20.4 | 0.24 | 7.62 | 76 | 31.3 | 100 | 0.124 | 0.02 | 13 | 3.46 | 2017-07-10 | ND
#1 (5) | Chevrolet Ave. | 2017-07-14 | WB | 19.5 | 0.24 | 7.6 | 76 | 31.3 | 100 | 0.142 | 0.03 | 13 | 3.31 | 2017-07-10 | ND
#19 (6) | MLK Blvd. | 2017-07-13 | WB | 20.8 | 0.23 | 7.68 | 74 | 29.7 | 100 | 0.071 | 0.01 | 13 | 3.21 | 2017-07-06 | ND
#9 (7) | Clio Rd. | 2017-07-18 | WB | 20.2 | 0.23 | 7.62 | 76 | 32.9 | 100 | 0.086 | 0.01 | 13 | 3.81 | 2017-07-11 | ND
#8 | Saginaw St. | 2017-07-18 | WB | 20.1 | 0.23 | 7.63 | 76 | 32.1 | 100 | 0.158 | 0.01 | 13 | 3.84 | 2017-07-11 | ND
CSII | Control Station #2 N. Dort Hwy. | 2017-07-18 | WB | 14.8 | 0.22 | 7.51 | 76 | 28.1 | 100 | 0.202 | 0.01 | 13 | 1.32 | 2017-07-11 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-07-17 | WB | 19 | 0.23 | 7.59 | 76 | 31.3 | 100 | 0.271 | 0.08 | 13 | 3.55 | 2017-07-06 | ND
#12 | Garland St | 2017-07-18 | WB | 20.8 | 0.23 | 7.59 | 74 | 32.9 | 98 | 0.123 | 0.01 | 13 | 3.72 | 2017-07-11 | ND
*SITE NAME is being used until West Side Reservoir activities are complete, SITE NAME is being used in place of SITE NAME due to main work | [10 empty] | ** most current Pb results

## WQP 071117
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-07-07 | HK | 19 | 0.23 | 7.48 | 72 | 29.7 | 100 | 0.055 | 0.01 | 13 | 3.57 | 2017-07-07 | ND
#16 (2) | E Court St | 2017-07-07 | HK | 18.5 | 0.23 | 7.47 | 74 | 29.7 | 98 | 0.055 | 0.01 | 13 | 3.58 | 2017-07-07 | ND
#17 (3) | S. Dort Hwy | 2017-07-07 | HK | 17.9 | 0.24 | 7.45 | 72 | 29.7 | 98 | 0.061 | 0.01 | 13 | 3.55 | 2017-07-07 | ND
#4 | Corunna Rd. | 2017-07-10 | WB | 19.6 | 0.23 | 7.55 | 76 | 30.5 | 100 | 0.054 | 0.02 | 13 | 3.51 | 2017-07-10 | ND
#1 (5) | Chevrolet Ave. | 2017-07-10 | WB | 19.2 | 0.24 | 7.56 | 74 | 29.7 | 98 | 0.155 | 0.02 | 14 | 3.39 | 2017-07-10 | ND
#19 (6) | MLK Blvd. | 2017-07-06 | HK | 20.9 | 0.23 | 7.37 | 74 | 30.5 | 100 | 0.094 | 0.02 | 13 | 3.4 | 2017-07-06 | ND
#9 (7) | Clio Rd. | 2017-07-11 | HK | 20.3 | 0.23 | 7.56 | 74 | 30.5 | 100 | 0.085 | 0.02 | 13 | 3.47 | 2017-07-11 | ND
#8 | N. Saginaw St. | 2017-07-11 | HK | 18.9 | 0.23 | 7.53 | 74 | 30.5 | 100 | 0.076 | 0.01 | 13 | 3.52 | 2017-07-11 | ND
CSII | Control Station #2 4500 N. Dort Hwy. | 2017-07-11 | WB | 15.7 | 0.22 | 7.34 | 72 | 29.7 | 98 | 0.092 | 0.02 | 13 | 1.18 | 2017-07-11 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-07-06 | HK | 16.1 | 0.24 | 7.44 | 72 | 30.5 | 100 | 0.109 | 0.02 | 13 | 3.57 | 2017-07-06 | ND
#12 | Garland St | 2017-07-11 | HK | 21.3 | 0.23 | 7.54 | 74 | 30.5 | 100 | 0.092 | 0.01 | 14 | 3.45 | 2017-07-11 | ND
*SITENAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 070517
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-07-05 | HK | 19.1 | 0.24 | 7.24 | 76 | 29.7 | 100 | 0.064 | 0.01 | 13 | 3.54 | 2017-06-23 | ND
#16 (2) | E Court St | 2017-07-05 | WB | 18.4 | 0.23 | 7.52 | 74 | 29.7 | 100 | 0.082 | 0.01 | 13 | 3.5 | 2017-06-23 | ND
#17 (3) | S. Dort Hwy | 2017-07-05 | WB | 19.3 | 0.23 | 7.56 | 74 | 29.7 | 102 | 0.208 | 0.02 | 14 | 3.65 | 2017-06-23 | ND
#4 | Corunna Rd. | 2017-06-30 | HK | 18.3 | 0.23 | 7.42 | 76 | 32.1 | 102 | 0.52 | 0.09 | 13 | 3.92 | 2017-06-26 | ND
#1 (5) | Chevrolet Ave. | 2017-06-30 | HK | 18.3 | 0.23 | 7.42 | 74 | 29.7 | 100 | 0.244 | 0.05 | 14 | 3.57 | 2017-06-26 | ND
#19 (6) | MLK Blvd. | 2017-06-29 | HK | 19.9 | 0.23 | 7.5 | 76 | 29.7 | 98 | 0.132 | 0.06 | 13 | 3.35 | 2017-06-22 | ND
#9 (7) | Clio Rd. 48504 | 2017-06-29 | HK | 19.3 | 0.23 | 7.41 | 76 | 29.7 | 100 | 0.082 | 0.03 | 13 | 3.49 | 2017-06-27 | ND
#8 | N. Saginaw St. | 2017-06-29 | HK | 17.2 | 0.23 | 7.5 | 76 | 30.5 | 100 | 0.084 | 0.01 | 13 | 3.53 | 2017-06-27 | ND
CSII | Control Station #2 4500 N. Dort Hwy. | 2017-07-04 | HK | 14.2 | 0.22 | 7.43 | 74 | 28.9 | 102 | 0.117 | 0.01 | 13 | 1.2 | 2017-06-27 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-07-03 | WB | 16.6 | 0.23 | 7.44 | 76 | 29.7 | 100 | 0.229 | 0.07 | 14 | 3.55 | 2017-06-22 | ND
#12 | Garland St | 2017-07-05 | HK | 20.4 | 0.24 | 7.25 | 76 | 29.7 | 100 | 0.244 | 0.02 | 13 | 3.69 | 2017-06-22 | ND
*SITENAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 062717
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-06-23 | HK | 18 | 0.24 | 7.38 | 76 | 29.7 | 100 | 0.061 | 0.03 | 13 | 3.54 | 2017-06-21 | ND
#16 (2) | E Court St | 2017-06-23 | HK | 17 | 0.23 | 7.38 | 76 | 29.7 | 100 | 0.073 | 0.03 | 13 | 3.63 | 2017-06-21 | ND
#17 (3) | S. Dort Hwy | 2017-06-23 | HK | 17.1 | 0.24 | 7.32 | 76 | 30.5 | 100 | 0.094 | 0.02 | 13 | 3.48 | 2017-06-21 | ND
#4 | Corunna Rd. | 2017-06-26 | HK | 18.2 | 0.23 | 7.38 | 76 | 32.9 | 100 | 0.104 | 0.02 | 14 | 3.54 | 2017-06-16 | ND
#1 (5) | Chevrolet Ave. | 2017-06-26 | HK | 17.5 | 0.23 | 7.45 | 74 | 31.3 | 98 | 0.135 | 0.03 | 14 | 3.48 | 2017-06-16 | ND
#19 (6) | MLK Blvd. | 2017-06-22 | HK | 20.4 | 0.24 | 7.42 | 76 | 32.1 | 100 | 0.128 | 0.08 | 13 | 3.25 | 2017-06-15 | ND
#9 (7) | Clio Rd. | 2017-06-27 | HK | 19.1 | 0.23 | 7.44 | 76 | 30.5 | 100 | 0.111 | 0.01 | 13 | 3.58 | 2017-06-15 | ND
#8 | N. Saginaw St. | 2017-06-27 | HK | 17.4 | 0.23 | 7.41 | 76 | 30.5 | 100 | 0.094 | 0.01 | 13 | 3.53 | 2017-06-15 | ND
CSII | Control Station #2 N. Dort Hwy. | 2017-06-27 | WB | 12.8 | 0.22 | 7.45 | 74 | 31.3 | 100 | 0.223 | 0.01 | 14 | 1.31 | 2017-06-20 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-06-22 | HK | 14.5 | 0.23 | 7.28 | 74 | 32.1 | 100 | 0.159 | 0.03 | 13 | 3.57 | 2017-06-19 | ND
#12 | Garland St | 2017-06-22 | HK | 19.7 | 0.23 | 7.34 | 74 | 32.1 | 100 | 0.087 | 0.04 | 13 | 3.45 | 2017-06-20 | ND
*SITE NAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 062117
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-06-21 | HK | 17.9 | 0.24 | 7.37 | 74 | 29.7 | 100 | 0.054 | 0.03 | 14 | 3.46 | 2017-06-09 | ND
#16 (2) | E Court St | 2017-06-21 | HK | 17 | 0.25 | 7.41 | 74 | 29.7 | 100 | 0.061 | 0.03 | 13 | 3.41 | 2017-06-09 | ND
#17 (3) | S. Dort Hwy | 2017-06-21 | HK | 17 | 0.25 | 7.33 | 74 | 29.7 | 98 | 0.063 | 0.02 | 13 | 3.38 | 2017-06-09 | ND
#4 | Corunna Rd. | 2017-06-16 | WB | 17.1 | 0.24 | 7.46 | 76 | 28.9 | 96 | 0.184 | 0.02 | 13 | 3.5 | 2017-06-12 | ND
#1 (5) | Chevrolet Ave. | 2017-06-16 | WB | 16.1 | 0.24 | 7.46 | 74 | 28.9 | 96 | 0.157 | 0 | 13 | 3.45 | 2017-06-12 | ND
#19 (6) | MLK Blvd. | 2017-06-15 | WB | 17.6 | 0.24 | 7.46 | 76 | 31.3 | 100 | 0.105 | 0.01 | 14 | 3.35 | 2017-06-08 | ND
#9 (7) | Clio Rd. | 2017-06-15 | WB | 17.4 | 0.23 | 7.48 | 74 | 30.5 | 98 | 0.293 | 0.01 | 13 | 3.58 | 2017-06-13 | ND
#8 | N. Saginaw St. | 2017-06-15 | WB | 15 | 0.22 | 7.45 | 74 | 30.5 | 98 | 0.219 | 0 | 13 | 3.42 | 2017-06-13 | ND
CSII | Control Station #2 N. Dort Hwy. | 2017-06-20 | HK | 13.5 | 0.22 | 7.43 | 76 | 29.7 | 98 | 0.07 | 0.01 | 14 | 1.12 | 2017-06-13 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-06-19 | WB | 15.6 | 0.22 | 7.43 | 74 | 28.9 | 98 | 0.263 | 0.08 | 14 | 3.52 | 2017-06-08 | ND
#12 | Garland St | 2017-06-20 | HK | 19.4 | 0.23 | 7.33 | 76 | 30.5 | 100 | 0.096 | 0.01 | 14 | 3.38 | 2017-06-08 | ND
*SITE NAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 061317
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-06-09 | HK | 16.8 | 0.23 | 7.31 | 70 | 29.7 | 98 | 0.069 | 0.01 | 13 | 3.46 | 2017-06-07 | ND
#16 (2) | E Court St | 2017-06-09 | HK | 15.1 | 0.23 | 7.42 | 70 | 29.7 | 98 | 0.07 | 0.01 | 13 | 3.54 | 2017-06-07 | ND
#17 (3) | S. Dort Hwy | 2017-06-09 | HK | 15 | 0.23 | 7.44 | 70 | 29.7 | 98 | 0.153 | 0.01 | 13 | 3.56 | 2017-06-07 | ND
#4 | Corunna Rd. | 2017-06-12 | WB | 17.6 | 0.23 | 7.47 | 72 | 29.7 | 98 | 0.146 | 0.01 | 13 | 3.44 | 2017-06-02 | ND
#1 (5) | Chevrolet Ave. | 2017-06-12 | WB | 16.1 | 0.23 | 7.43 | 72 | 29.7 | 98 | 0.124 | 0.02 | 13 | 3.52 | 2017-06-02 | ND
#19 (6) | MLK Blvd. | 2017-06-08 | HK | 17.5 | 0.23 | 7.32 | 72 | 29.7 | 100 | 0.265 | 0.04 | 13 | 3.57 | 2017-06-01 | ND
#9 (7) | Clio Rd. | 2017-06-13 | WB | 17 | 0.23 | 7.44 | 74 | 29.7 | 100 | 0.283 | 0.02 | 13 | 3.5 | 2017-06-01 | ND
#8 | N. Saginaw St. | 2017-06-13 | WB | 16.8 | 0.23 | 7.47 | 74 | 29.7 | 100 | 0.125 | 0.02 | 13 | 3.43 | 2017-06-01 | ND
CSII | Control Station #2 N. Dort Hwy. | 2017-06-13 | WB | 13.7 | 0.21 | 7.38 | 74 | 28.1 | 98 | 0.471 | 0 | 13 | 1.51 | 2017-06-06 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-06-08 | HK | 15.3 | 0.23 | 7.24 | 74 | 29.7 | 100 | 0.323 | 0.09 | 14 | 3.55 | 2017-06-05 | ND
#12 | Garland St | 2017-06-08 | HK | 17.5 | 0.23 | 7.35 | 72 | 29.7 | 98 | 0.112 | 0.04 | 13 | 3.43 | 2017-06-06 | ND
*SITE NAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 060717
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-06-07 | HK | 16.1 | 0.23 | 7.31 | 74 | 30.5 | 98 | 0.07 | 0.01 | 13 | 3.52 | 2017-05-31 | ND
#16 (2) | E Court St | 2017-06-07 | HK | 14.6 | 0.23 | 7.34 | 74 | 30.5 | 100 | 0.101 | 0.02 | 13 | 3.64 | 2017-05-31 | ND
#17 (3) | S. Dort Hwy | 2017-06-07 | HK | 15.2 | 0.23 | 7.34 | 72 | 29.7 | 98 | 0.067 | 0.01 | 14 | 3.54 | 2017-05-31 | ND
#4 | Corunna Rd. | 2017-06-02 | HK | 15.3 | 0.23 | 7.51 | 74 | 31.3 | 100 | 0.201 | 0.02 | 13 | 3.56 | 2017-05-26 | ND
#1 (5) | Chevrolet Ave. | 2017-06-02 | HK | 14 | 0.23 | 7.45 | 74 | 31.3 | 100 | 0.196 | 0.03 | 13 | 3.51 | 2017-05-26 | ND
#19 (6) | MLK Blvd. | 2017-06-01 | HK | 16.9 | 0.23 | 7.36 | 74 | 29.7 | 100 | 0.089 | 0.01 | 12 | 3.54 | 2017-05-25 | ND
#9 (7) | Clio Rd. 48504 | 2017-06-01 | HK | 15.9 | 0.23 | 7.37 | 74 | 30.5 | 98 | 0.101 | 0.01 | 12 | 3.5 | 2017-05-25 | ND
#8 | N. Saginaw St. | 2017-06-01 | HK | 15 | 0.23 | 7.42 | 74 | 29.7 | 98 | 0.076 | 0.01 | 12 | 3.56 | 2017-05-25 | ND
CSII | Control Station #2 4500 N. Dort Hwy. | 2017-06-06 | WB | 11 | 0.21 | 7.47 | 74 | 29.7 | 98 | 0.113 | 0.01 | 13 | 1.21 | 2017-05-30 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-06-06 | WB | 11.6 | 0.23 | 7.4 | 74 | 29.7 | 98 | 0.14 | 0.02 | 14 | 3.59 | 2017-05-30 | ND
#12 | SITENAME Garland St | 2017-06-06 | HK | 17.5 | 0.23 | 7.35 | 72 | 29.7 | 96 | 0.13 | 0.02 | 13 | 3.52 | 2017-05-30 | ND
*SITENAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results

## WQP 053117
WEEKLY ENHANCED WATER QUALITY PARAMETER MONITORING
SAMPLE POINT IDENTIFICATION |  |  |  | P A R A M E T E R S A N D R E S U L T S | [9 empty] | **PRIOR WEEK RESULTS
Dist. Location # (previous #) | Sample Point Name & Address | Sample date | Tech | Temperature (°C) | Conductivity (mS) | pH (su) | Total Alkalinity (mg/L CaCO3) | Calcium (mg/L Ca2+) | Hardness (mg/L CaCO3) | Turbidity (NTU) | Iron (mg/L) | Chloride (mg/L Clˉ) | Phosphate (mg/L PO4) | Sample date | Lead (µg/L Pb)
#14 (1) | Davison Rd. | 2017-05-31 | WB | 15.2 | 0.21 | 7.58 | 74 | 29.7 | 98 | 0.065 | 0.01 | 13 | 3.48 | 2017-05-19 | ND
#16 (2) | E Court St | 2017-05-31 | HK | 13.8 | 0.23 | 7.31 | 72 | 29.7 | 98 | 0.075 | 0.01 | 13 | 3.56 | 2017-05-19 | ND
#17 (3) | S. Dort Hwy | 2017-05-31 | HK | 14 | 0.23 | 7.34 | 72 | 29.7 | 98 | 0.087 | 0.01 | 13 | 3.55 | 2017-05-19 | ND
#4 | Corunna Rd. | 2017-05-26 | HK | 14.5 | 0.24 | 7.31 | 74 | 31.3 | 100 | 0.133 | 0.03 | 13 | 3.54 | 2017-05-22 | ND
#1 (5) | Chevrolet Ave. | 2017-05-26 | HK | 14.1 | 0.23 | 7.26 | 74 | 31.3 | 100 | 0.127 | 0.03 | 13 | 3.55 | 2017-05-22 | ND
#19 (6) | MLK Blvd. | 2017-05-25 | CW | 15.9 | 0.23 | 7.27 | 74 | 31.3 | 100 | 0.079 | 0.01 | 13 | 3.57 | 2017-05-18 | ND
#9 (7) | Clio Rd. 48504 | 2017-05-25 | CW | 15.1 | 0.23 | 7.31 | 74 | 31.3 | 100 | 0.091 | 0.01 | 13 | 3.67 | 2017-05-23 | ND
#8 | N. Saginaw St. | 2017-05-25 | CW | 14.5 | 0.23 | 7.31 | 74 | 31.3 | 98 | 0.063 | 0.01 | 12 | 3.69 | 2017-05-23 | ND
CSII | Control Station #2 4500 N. Dort Hwy. | 2017-05-30 | HK | 10.4 | 0.21 | 7.33 | 72 | 29.7 | 100 | 0.168 | 0.02 | 12 | 1.25 | 2017-05-23 | ND
#5 (CS) | Cedar Street Reservoir & Pump Station | 2017-05-30 | HK | 12.3 | 0.23 | 7.34 | 74 | 31.3 | 100 | 0.126 | 0.03 | 13 | 3.59 | 2017-05-18 | ND
#12 | * Garland St | 2017-05-30 | HK | 16.7 | 0.23 | 7.39 | 74 | 32.1 | 100 | 0.173 | 0.05 | 15 | 3.51 | 2017-05-23 | ND
*SITENAME is being used until West Side Reservoir activities are complete and until further notice | [6 empty] | ** most current Pb results